Construction Industry Inspection Checklist

Construction Industry Inspection Checklist

(long version)

This sample document is provided to assist employers in developing programs tailored to their own operations.  We encourage employers to copy, expand, modify and customize this sample as necessary to accomplish this goal.  

This document is provided as a compliance aid but does not constitute a legal interpretation of OSHA Standards, nor does it replace the need to be familiar with, and follow, the actual OSHA Standards (including any North Carolina specific changes).  Though this document is intended to be consistent with OSHA Standards, if an area is considered by the reader to be inconsistent, the OSHA standard should be followed.  

Note: This checklist is by no means all-inclusive. You should add to it or delete items that do not apply to your business; however, carefully consider each item and then make your decision. You should refer to OSHA Standards for the Construction Industry 29 CFR Part 1926 for specific requirements that may apply to your work situation. This checklist is typical for construction industries, but not for general or maritime industries.

Company: ___________________   Site Location: _______________________


Inspector:____________________   Signature:__________________________  Date: ___________

Instructions:  Any recognized hazard shall be corrected immediately, and interim protection provided for any serious hazards not readily corrected.  Issue “Safety Violation Notices” to subcontractors as appropriate.  Keep completed forms on file.

	
	Yes
	No
	Not applicable
	Corrective Action

(for “No” responses)

	Job Information
	
	
	
	

	Are OSHA 300 forms complete? Is the 300A Annual Summary posted from February – April?
	
	
	
	

	Are North Carolina Department of Labor Wage and Hour and OSH Notice posters posted?
	
	
	
	

	Are phone numbers for physicians, hospitals, fire departments and ambulances conspicuously posted?
	
	
	
	

	Is a facility for the treatment of injured employees located within 15 minutes of the jobsite, if not, is there an employee trained in first aid at the site?
	
	
	
	

	Is a first-aid kit readily available with necessary supplies?
	
	
	
	

	Is there proper personal protective equipment for bloodborne pathogens provided for employees performing first aid?
	
	
	
	

	Are potable drinking water and toilet facilities available on site?
	
	
	
	

	Are weekly safety meetings up to date?
	
	
	
	

	Are work areas properly signed and barricaded?
	
	
	
	

	Is each employee instructed in the recognition and avoidance of unsafe conditions?
	
	
	
	

	Is a competent person present, inspecting frequently?
	
	
	
	

	Housekeeping
	
	
	
	

	Is there general neatness of the work area?
	
	
	
	

	Are projecting nails removed or bent over?
	
	
	
	

	Are waste containers provided and used?
	
	
	
	

	Are passageways and walkways clear?
	
	
	
	

	Fire Prevention
	
	
	
	

	Are there adequate fire extinguishers that are accessible and inspected?
	
	
	
	

	Is the phone number of the local fire department posted?
	
	
	
	

	Are “No Smoking” signs posted and enforced near flammables?
	
	
	
	

	Electrical
	
	
	
	

	Are extension cords or attachments with bare wires, missing ground pins, or damage taken out of service?
	
	
	
	

	Are ground fault circuit interrupters (GFCIs) being used?
	
	
	
	

	Are terminal boxes equipped with required covers? 
	
	
	
	

	Are flexible cords and cables protected from damage? 
	
	
	
	

	Are unused openings in cabinet boxes and fittings closed? 
	
	
	
	

	Are all cabinets, panels and switches located in wet locations enclosed in weather proof enclosures?
	
	
	
	

	Hand, Power and Powder Actuated Tools
	
	
	
	

	Are hand tools inspected regularly? Are broken handles and mushroom heads repaired or taken out of service?
	
	
	
	

	Are protective guards in place on tools, such as saws? 
	
	
	
	

	Is the right tool being used for the job? 
	
	
	
	

	Are operators of powder actuated tools licensed?
	
	
	
	

	Fall Protection
	
	
	
	

	Are employees working more than 6 feet above a lower level protected by guardrails, safety nets, personal fall arrest system?
	
	
	
	

	Are safety rails and cables secured properly and located at the correct heights?
	
	
	
	

	Are employees that are exposed to fall hazards wearing personal fall arrest systems and tied off?
	
	
	
	

	Are employees located below falling objects protected?
	
	
	
	

	Are employees using body belts for positioning devices only?
	
	
	
	

	Ladders
	
	
	
	

	Are ladders extended at least 36 inches above the landing?
	
	
	
	

	Are ladders secured to prevent slipping, sliding, or falling?
	
	
	
	

	Are ladders with split or missing rungs taken out of service?
	
	
	
	

	Are stepladders used in fully open position?
	
	
	
	

	Do employees avoid top two rungs of stepladder?
	
	
	
	

	Scaffolding
	
	
	
	

	Is scaffolding inspected daily?
	
	
	
	

	Is scaffolding erected on sound rigid footing?
	
	
	
	

	Are guardrails, intermediate rails, toeboards and screens in place? 
	
	
	
	

	Is scaffolding tied to structure as required? 
	
	
	
	

	Is planking sound and sturdy? 
	
	
	
	

	Is proper access provided? 
	
	
	
	

	Are employees located below protected from falling objects? 
	
	
	
	

	Floor and Wall Openings
	
	
	
	

	Are all floor or deck openings planked over or barricaded?
	
	
	
	

	Is perimeter protection in place?
	
	
	
	

	Are deck planks secured?
	
	
	
	

	Are materials stored away from edge?
	
	
	
	

	Trenches, Excavation and Shoring
	
	
	
	

	Is a competent person present, inspecting daily?
	
	
	
	

	Are excavations over 5 feet in depth shored or sloped back?
	
	
	
	

	Are materials and spoil pile at least 2 feet from trench opening?
	
	
	
	

	Is equipment operated safely at trench or excavation?
	
	
	
	

	Are ladders provided every 25 feet in trench more than 4 feet deep?
	
	
	
	

	Have underground utility installations been located?
	
	
	
	

	Are employees that are exposed to vehicular traffic wearing warning vests with highly visible material?
	
	
	
	

	Material Handling
	
	
	
	

	Are materials properly stored or stacked?
	
	
	
	

	Are employees using proper lifting methods?
	
	
	
	

	Are tag lines used to guide loads?
	
	
	
	

	Is there an adequate number of workers for each operation?
	
	
	
	

	Welding and Cutting
	
	
	
	

	Are compressed gas cylinders stored upright and secured? 
	
	
	
	

	Is there a proper separation distance between fuels and oxygen? (minimum 20 feet) 
	
	
	
	

	Are there fire extinguishers nearby? 
	
	
	
	

	Are hoses and regulators in good condition? 
	
	
	
	

	Cranes
	
	
	
	

	Outriggers are extended and swing radius barricade in place? 
	
	
	
	

	Are crane operator logs maintained and up-to-date? 
	
	
	
	

	Are operators familiar with load charts? 
	
	
	
	

	Are chains and slings inspected and tagged as required? 
	
	
	
	

	Are hand signal charts located on crane?  
	
	
	
	

	Concrete Construction
	
	
	
	

	Are employees protected from cement dust?
	
	
	
	

	Is exposed skin covered?
	
	
	
	

	Are runways adequate?
	
	
	
	

	Are walls over 8 feet supported?
	
	
	
	

	Are all protruding reinforcing bars covered?
	
	
	
	

	Is lockout/tagout procedure used on any machinery where inadvertent operation could cause injury?
	
	
	
	

	Personal Protective Equipment
	
	
	
	

	Are hard hats being worn?
	
	
	
	

	Are safety glasses being worn?
	
	
	
	

	Are respirators used when required?
	
	
	
	

	Is hearing protection being worn when required?
	
	
	
	

	Are high visibility vests being worn when required?
	
	
	
	

	Vehicles
	
	
	
	

	Do vehicles, earth moving or compacting equipment with an obstructed view to the rear have a backup alarm or used with an observer?
	
	
	
	

	Do vehicles and earth moving equipment have seat belts and are they used?
	
	
	
	

	Are flagmen wearing highly visible garments and using flags, sign paddles or lights?
	
	
	
	

	Stairs
	
	
	
	

	Are flights of stairs with 4 or more risers equipped with standard stair railings or handrails?
	
	
	
	

	Hazardous Substances
	
	
	
	

	Is there a hazard communication program with safety data sheets (SDSs) and inventory list on site?
	
	
	
	

	Is each original container for a hazardous substance labeled with product identifier, signal word(s), hazard statement(s), pictogram(s), precautionary statement(s) and name, address, and phone number of the chemical manufacturer, importer or other responsible party?
	
	
	
	

	Is each secondary container for a hazardous substance labeled with original labeling or product identifier and words, pictures, and/or symbols, which provide at least general information regarding the hazards?
	
	
	
	

	Is exposure to lead or lead based paint, such as paint removal controlled?
	
	
	
	

	Is exposure to silica, such as sandblasting, using sand or cutting brick or cinderblock controlled?
	
	
	
	

	Is exposure to asbestos controlled?
	
	
	
	

	Unsafe Acts or Practices Observed (List):                                                                                                            
	
	
	
	

	


   










2
Revised 8/24/18
 2

